## Slide 1: THR designs and options for complex hips
Mr. Glenn Boyce MBBS Dip Anat FRACS

## Slide 2: Femur uncemented options
Proximal metaphyseal fit
- 2 neck angles (1270 or 1320)
- Offset increases with body size (28- 53mm)
Must template to see if the uncemented stem fits

## Slide 3: Will not work in all cases
Must template to see if the uncemented stem fits

## Slide 4: Difficult distal stem fixation
Canal flare
A/B
Wide less than 3
Normal 3- 5
Higher failure rate uncemented
A
B

## Slide 5: Cement gives more options!

## Slide 6: More freedom to match centre of rotation

## Slide 7: Plus you can adjust anteversion

## Slide 8: Modular uncemented options
diaphyseal + metaphyseal fit
Choices in distal stem morphology

## Slide 9: Taper + flutes improved distal stability
Taper  immediate axial stability.
Higher taper angle (>5 degrees) improves resistance to subsidence
50% cases have mild subsidence within 3 years (> 1.5 mm)
5-10% Significant subsidence >3 years (> 5mm)
Flutes provide immediate rotational stability. (Thinner flutes increased torque resistance)

## Slide 10: Stem requirements
Extensively porous coated stem
  Bi-cortical contact MUST be 2 cortical widths
    finish ETO above isthmus
  Power reaming distal
  Straight stem creates 3 point fixation

## Slide 11: Revision- Uncemented long stem with impaction grafting
Option for elderly low demand patients with poor bone stock
BUT
Demanding
Recreate tube and stabilise
Remodeling of the endosteum around 6 weeks leads to canal widening
New tumour prosthesis easier to use for low demand patients

## Slide 12: Support options for bone grafting

## Slide 13: Proximal femoral replacement

## Slide 14: Primary or revision
intact AP rim ?

## Slide 15: Jumbo Cup
10-15 year survival 85-95%
Intact AP rim and pelvic continuity
> 50% bony contact
Typically add screws

## Slide 16: New versions of jumbo cup
    Cup placement should be inferior and medial
      lowers joint reactive forces
      Decreased impingement on prominent anterior cup

## Slide 17: Grafting
Small cavitary lesions
   Cancellous bone graft
Possible for massive defects with mesh alone, but 20% revision rate by 10 years

## Slide 18: Addition of mesh and cage
Decreased need for cortical graft and amount of cancellous graft
Improved ability to restore centre of rotation

## Slide 19: Cortical augments
Cortical grafts weaken and resorb at 3-5 years
Uncemented cups will not bond to graft

## Slide 20: Metal Augments
Improved long term stability Vs cortical graft

## Slide 21: Continuity must be restored

## Slide 22: 50% plus failure rate with graft and plate
Better option

## Slide 23: Stabilise pelvis and restore bone stock
Antiprotrusio cages with bone ingrowth potential

## Slide 24: Prevent dislocation?
High risk of dislocation
Semi constrained or constrained liner
Tips: Don’t increase the anteversion of the acetabular component compared to the native acetabulum!!! These implants lever out from neck impingement on the prosthesis

## Slide 25
Thank you